## VTbl_Recommendations
RecoCode | Description
1.1 | Please check the following biochemical test results to differentiate (referred isolate) from (confirmed ID of the isolate). <Please indicate ID comparison table>
1.2 | Please revive and double-check bacterial identification before sending it to ARSRL to avoid a discordant result. Susceptibility testing is not performed for those isolates with different identification.
1.2(a) | Please revive and double-check bacterial identification before sending it to ARSRL to avoid a discordant result. Susceptibility testing is not performed for isolates identified by ARSRL as different from that of referring site.
1.3 | When using the automated machine for identification, it is strongly recommended to perform the required additional supplemental tests according to the manufacturer's recommendation to validate and avoid discordant results.
1.4 | Please use the correct Whonet codes for the organism referred to avoid discordant result.
1.4.1 | <Organism isolated> is not a usual pathogen when isolated from <specimen type>. Please correlate clinically.
1.4.2 | <Organism isolated>is not a enteric pathogen when isolated from <specimen type> especially for adult patients. Please correlate clinically.
1.4.3 | Acinetobacter baumanii and/or other Non-lactose Fermenting Organisms is not a usual pathogen when isolated from sputum sample unless pure culture was recovered and bacterial count is significant. Please correlate clinically.
1.4.4 | Please check the purity and degree of growth of the bacterial count if significant, since <Organism isolated> is not a usual pathogen when isolated from <specimen type>. Please correlate clinically.
1.4.5 | <Organism isolated> is not a usual pathogen when isolated from <specimen type> unless recovered from pure culture. Please correlate clinically.
1.4.6 | It was observed that this batch of referral from your laboratory isolated Corynebacterium species/diptheroids from blood culture; therefore we suggest to observe proper asceptic technique in collecting blood for culture to avoid unwanted growth of bacteria from skin flora.
1.5.1 | <Organism isolated> is not a usual pathogen when isolated from <specimen type>. Please correlate clinically.
1.5.2 | <Organism isolated>is not a enteric pathogen when isolated from <specimen type> especially for adult patients. Please correlate clinically.
1.5.3 | Acinetobacter baumanii and/or other Non-lactose Fermenting Organisms is not a usual pathogen when isolated from sputum sample unless pure culture was recovered and bacterial count is significant. Please correlate clinically.
1.5.4 | Please check the purity and degree of growth of the bacterial count if significant, since <Organism isolated> is not a usual pathogen when isolated from <specimen type>. Please correlate clinically.
1.5.5 | <Organism isolated> is not a usual pathogen when isolated from <specimen type> unless recovered from pure culture. Please correlate clinically.
1.5.6 | Methicillin Resistant Staphylococcus aureus mecA(+) is not a usual pathogen when isolated from sputum sample unless pure culture was recovered and bacterial count is significant, and the purpose of culture and susceptibility test is to screen for the presence of Methicillin Resistant Staphylococcus aureus.
2.1 | Please revive and check the viability of organisms before sending them to ARSRL.
2.2.1 | During transport of Neisseria gonorrhoeae isolates, please use Modified Thayer Martin (MTM) slant overlaid with sterile mineral oil to maintain the viability of isolates and to avoid overgrown of unwanted organisms.
2.2.2 | During transport of Haemophilus spp. isolates, please use chocolate agar slant to maintain the viability of isolates instead of using plated media.
2.3 | Please send to ARSRL as soon as possible in order to maintain viability of isolates
3.1 | Please revive and double check bacterial identification before sending to ARSRL to avoid discordant result. Susceptibility testing not required for those isolates recovered as mixed culture.
3.2 | Please check sterility/contamination of transport media used prior to inoculation before sending to ARSRL.
3.3 | It was observed that this batch of referral from your laboratory isolated Corynebacterium species/diptheroids from blood culture; therefore we suggest to observe proper asceptic technique in collecting blood for culture to avoid unwanted growth of bacteria from skin flora.
4.1.1 | As per CLSI recommendation, <antibiotic> disk testing is not a reliable method. Therefore <antibiotic> MIC testing is recommended and should be performed.
4.1.2 | For all Non-fermenting organisms except for Pseudomonas aeruginosa, Acinetobacter species, Burkholderia cepacia and Stenotrophomonas maltophilia, MIC testing is highly recommended, because disc diffusion testing is unreliable.
4.2.1 | As per CLSI recommendation, (antibiotic) is not included in the (organism) panel. Please observe selective and proper reporting of antibiotics per organism.
4.2.2 | (Antibiotic disk) is not necessary to be included for routine testing and reporting in <Enterobacteriaceae> panel since it belongs to test group “O” (others). Please observe selective and proper reporting of antibiotics per organism.
4.2.3 | <antibiotics> is/are tested and reported for urine specimens only. Please observe selective and proper reporting of antibiotics per organism.
4.2.4 | Please include urine panel of antibiotics such as nitrofurantoin and norfloxacin when testing for urine sample.
4.2.5 | Do not report erythromycin in urine isolates as per CLSI recommendation.
4.2.6 | Nalidixic acid is used to screen for altered fluoroquinolone resistance among Salmonella spp., Shigella spp. and Neisseria gonorrhoeae therefore it is not necessary to be included for routine testing and reporting among other Enterobacteriaceae.
4.2.7 | Novobiocin in Staphylococcus spp. is differential disk to speciate S. saprophyticus from other coagulase negative Staphylococcus spp. in urine sample; therefore proper reporting of antibiotic should be observed.
4.3.1 | The zone size of (antibiotic) is (zone size) mm and was interpreted as (site interpretation). Please be careful in the interpretation of antibiotic susceptibility test result to avoid erroneous result.
4.3.2 | The MIC value of (antibiotic) is (reading) and was interpreted as (site interpretation). Please be careful in the interpretation of antibiotic susceptibility test result to avoid erroneous result.
4.4.1 | Organism isolated/referred is intrinsically resistant to (antibiotic), however 1-3% may appear susceptible due to mutation or low resistance expression. Repeated susceptibility testing of this isolate by MIC showed susceptible / intermediate results and consistently displayed the same findings.
4.4.1.1 | Interpretive criteria against ampicillin for this isolate is verified to be intermediate. Although Klebsiella pneumoniae is intrinsically resistant to ampicillin, there is a small percentage (1-3%) that may appear susceptible due to method variation, mutation or low levels of resistance expression.
4.4.2 | Proteus spp, Providencia spp and Morganella spp may have elevated MICs to imipenem by mechanisms other than production of carbapenemases.
4.5.1 | Please check the disk potency, expiration date of (antibiotic/s) and perform regular antibiotic quality control against (ATCC strain) to monitor and evaluate the antibiotic disk performance.
4.5.2.1 | When using the Vitek machine, please check Vitek AST card lot number and perform regular antibiotic quality control using (ATCC strain) to monitor and evaluate the Vitek card performance and specifically the susceptibility test results of (antibiotic). Please validate results using other susceptibility test method available in your laboratory to avoid discordant result.
4.5.2.2 | When using automated machine, please check card lot number and perform regular antibiotic quality control using (ATCC strain) to monitor and evaluate the card's performance and specifically the susceptibility test results of (antibiotic). Please validate results using other susceptibility test method available in your laboratory to avoid discordant result.
4.5.2.3 | When using the Vitek machine, please use appropriate Vitek AST card specific to Streptococcus pyogenes, check lot number and perform regular antibiotic quality control using Staphylococcus aureus ATCC 29213 strain to monitor and evaluate the Vitek card performance and specifically the susceptibility test results of ampicillin, clindamycin, cefotaxime,ceftriaxone, erythromycin,pencicillin and vancomycin. Please validate results using other susceptibility test method available in your laboratory to avoid discordant result.
4.5.3 | It was observed that <antibiotic> disk and MIC susceptibility results have different interpretive criteria. Please choose and reflect only one interpretive criteria to avoid confusion and discordant result.
4.5.5 | The antibiotic susceptibility pattern of your referred isolate is different from the ARSRL results. Please perform regular quality control of your antibiotic disks and AST card to evaluate their performance and avoid discordant result.
4.6.1 | Please reflect the interpretive criteria of (antibiotic/s) as to resistant, intermediate or susceptible, against the isolate referred.
4.6.2 | Please reflect the zone size/MIC value of <antibiotic> for proper interpretation of susceptibility test results.
4.6.3 | Please encode cefuroxime axetil disc diffusion result under the acronym CXA on the ARSP referral form.
4.6.4 | Please refer to the attached MIC breakpoint of drug combination for WHONET encoding for the interpretation of trimethoprim/sulfamethoxazole.
4.6.5 | Please encode oxacillin disc diffusion result under penicillin disc on the ARSP referral form.
4.6.6 | When using the automated Antimicrobial Susceptibility Testing (AST) method, please reflect the actual Minimum Inhibitory Concentration (MIC) values of High-Level Gentamicin and High-Level Streptomycin when testing for High-Level Aminoglycoside Resistance among Enterococcus species. Refer to the Vitek GP AST Card leaflet for proper interpretation.
4.7.1 | Do not report oxacillin, penicillin and cefoxitin on Staphylococcus saprophyticus (Calibrated Dichotomous Sensitivity Method (CDS), 6th ed., 2011)
4.7.2.1 | Broth microdilution is the acceptable method for colistin testing. Please update your automated AST to the latest CLSI breakpoints.
4.7.2.2 | The MIC value of colistin is <value> µg/mL and was interpreted as susceptible. The MIC interpretive categories of colistin are intermediate and resistant. Please be careful in the interpretation of antibiotic susceptibility test result to avoid erroneous result
4.7.2.2(b) | The current CLSI interpretive criteria for colistin MIC has no susceptible interpretive criteria only intermediate and resistant category; Therefore, Please update to current CLSI breakpoints and interpretive category of Enterobacterales to avoid discordant AST result.
4.8 | Please test and report the required antibiotics for Enterobacterales (Escherichia coli) listed in the 2023 recommended antibiotic panel for AST as agreed upon during the 2023 ARSP annual meeting.
4.8.1 | As per CLSI recommendation, there is no intermediate interpretative criteria for cefepime, instead has SDD (susceptible-dose dependent)
4.8.3.1 | Please test and report the 2023 CLSI recommended antibiotic panel for Escherichia coli and include the urine panel of antibiotics such as nitrofurantoin when testing urine samples.
4.8.4 | It was observed that the majority of your referrals were Enterococcus species for AST confirmation of vancomycin, therefore we would like to reiterate that you can refer to ARSRL other aerobic bacterial isolates as listed in the 2023 ARSP list of referable isolates for confirmatory testing.
4.8.6 | Please test and report antibiotics for <organism> listed in the 2023 recommended panel for AST upon during the 2023 ARSP annual meeting especially clindamycin and erythromycin for ICR detection. Recommended panel for AST upon during the 2022 ARSP annual meeting especially clindamycin and erythromycin for ICR detection.
5.1.1 | During routine susceptibility testing , please incorporate and observe proper distance of 1.5 cm or 15 mm from the edge of Amoxicillin /clavulanic acid (Amc) 20/10 ug disk to the edge of aztreonam (Atm) 30 ug disk for ESBL detection. ESBL (+) = keyhole effect between amc and atm disks .
5.1.2 | ESBL (+) upon confirmation by using ceftazidime/ceftazidime clavulanic acid (TZ/TZL) / cefotaxime/cefotaxime clavulanic acid (CT/CTL) and determining the MIC values of this antibiotics.
5.1.3 | ESBL (-) upon confirmation by using ceftazidime/ceftazidime clavulanic acid (TZ/TZL) / cefotaxime/cefotaxime clavulanic acid (CT/CTL) and determining the MIC values of this antibiotics.
5.1.4 | ESBL Non-determinable upon confirmation by using ceftazidime/ ceftazidime clavulanic acid (TZ/TZL) / cefotaxime/cefotaxime clavulanic acid (CT/CTL) and determining the MIC values of this antibiotics.
5.1.5 | ESBL can be distinguished from ampC if the isolate is susceptible to cefoxitin and amoxicillin/ clavulanic acid.
5.10.1 | Your referral is linezolid resistant (Referred Isolate), a very unusual susceptibility result. Please double check the purity of isolates and validate result by performing other susceptibility test available in the laboratory to ensure reliable result.
5.10.2 | 1. Your referral is linezolid resistant (Referred Isolate), a very unusual susceptibility result. Please double check the purity of isolates and validate result by performing other susceptibility test available in the laboratory to ensure reliable result. 2. When using the Vitek machine, please check Vitek AST card lot number and perform regular quality control using Staphylococcus aureus ATCC 29213 to monitor and evaluate the Vitek card performance and specifically the susceptibility test results of linezolid.
5.11.1 | During routine susceptibility testing, please use Oxacillin (Oxa) 1 ug disk for detection of nonsusceptible pneumococci. If the oxacillin screening test result is indeed resistant, Penicillin MIC testing should be determined. Penicillin resistant (oxacillin) = Oxacillin zone diameter of ≤ 19 mm
5.11.2 | Penicillin G MIC result is susceptible for both parenteral meningitis & non-meningitis breakpoint.
5.11.3 | Penicillin G MIC result is resistant for both parenteral meningitis & non-meningitis breakpoint.
5.11.4 | Penicillin G MIC result is resistant to parenteral meningitis and susceptible to non-meningitis breakpoint.
5.11.5 | During routine susceptibility testing, please use oxacillin (OXA) 1 ug disk for detection of nonsusceptible pneumococci. If the oxacillin screening test result is indeed resistant, penicillin MIC testing should be determined and not oxacillin MIC.
5.12.1 | In every test run performed, please do QC using H. Influenzae ATCC 33930 for beta-lactamase producing strain and H. influenzae ATCC 49247 for Non- beta-lactamase producing strain and correlate penicillin (PG) or ampicillin susceptibility test result
5.12.2 | In every test run performed, please do QC using H. Influenzae ATCC 33930 for beta-lactamase producing strain and H. influenzae ATCC 49247 for Non- beta-lactamase producing strain and correlate penicillin (PG) or ampicillin susceptibility test result
5.12.3 | Please perform beta-lactamase screening on all Enterococcus spp, Haemophilus spp., Moraxella spp., and Neisseria spp.
5.12.4 | Please correlate penicillin susceptibility result and check the beta-lactamase test result using cefinase disk.
5.12.5 | Beta-lactamase Negative Ampicillin Resistant strains should be considered resistant to amoxicillin/clavulanic acid, ampicillin/sulbactam, cefaclor, and cefuroxime despite in vitro susceptibility results
5.12.6 | 1. Your referral is <referred organism with phenotypic results> but penicillin was not tested. Please check and be careful in interpreting AST result to avoid erroneous report. 2. Please include penicillin susceptibility testing for <organism> to correlate beta-lactamase result.
5.13.1 | As per CLSI recommendation, use gentamicin 120ug disk and streptomycin 300ug disk in screening for High-level aminoglycoside resistance in Enterococcus species.
5.14.1 | Your referral is <referred organism with phenotypic results> but ESBL is commonly observed among Enterobacteriaceae. Please check and be careful if interpreting AST result to avoid erroneous report.
5.14.2 | ESBL and ampC are not tested among Vibrio cholerae isolates.
5.14.3 | Performing the Modified Carbapenem Inhibition Method (MCIM) with Acinetobacter species is not recommended by CLSI M100 32nd edition, page 137
5.14.4 | Perform modified carbapenem inactivation method for suscpected carbapenemase production in Enterobacterales based on CLSI-M100, 32nd edition pages 132-142
5.15.1 | Your referral is <referred organism with phenotypic results> but Disk diffusion/MIC Result is <D.D/MIC value>. Please check and be careful in reporting the Antimicrobial Resistance Phenotype to avoid confusion of result.
5.2.1 | During routine susceptibility testing, please incorporate and observe proper distance of 2.0 cm or 20 mm from the edge of Cefotaxime (Ctx) 30 ug disk to the edge of Imipenem (Ipm)10 ug disk for ampC detection. ampC (+) = flattened edge of the inhibitory zone around cefotaxime disk adjacent to an imipenem disk
5.2.2 | The isolate is confirmed to be ampC (+) by using the MIC values of cefotetan/cefotetan clavulanic acid (CN/CNI).
5.2.3 | ampC (-) upon confirmation by using cefotetan/cefotetan clavulanic acid (CN/CNI) by determining the MIC values of this antibiotics.
5.2.4 | ampC can be distinguished from ESBL if the isolate exhibits resistance to cefoxitin and amoxicillin/clavulanic acid but susceptible to cefepime.
5.3.1 | During routine susceptibility testing, please incorporate and observe proper distance of 1.0 cm or 10 mm from the edge of EDTA 750 ug disk to the edge of Imipenem (Ipm) 10 ug disk for MBL detection. MBL (+) = keyhole effect between imipenem and EDTA disk
5.3.2 | MBL (+) upon confirmation by using imipenem/imipenem EDTA (IP/IPI) by determining the MIC values of this antibiotics
5.3.3 | MBL (-) upon confirmation by using imipenem/imipenem EDTA (IP/IPI) by determining the MIC values of this antibiotics
5.3.4 | For uniformity of reporting, please use MBL for Non-enterobacteriaceae organisms and Carbapenemase for Enterobacteriaceae.
5.4.1 | It is strongly recommended to perform carbapenemase screening if the isolate is carbapenem resistant.
5.4.2 | Please use 0.5 MacFarland Standard Suspension (direct colony suspension) of Escherichia coli ATCC 25922 (indicator organism), control strains (KPN ATCC BAA -1705 and KPN ATCC BAA -1706) and test isolates in 0.85 % NSS. Streak a lawn of the 1:10 dilution of ECO ATCC 25922 onto Mueller Hinton agar plate and allow to dry for 3 – 5 minutes. Place the appropriate number of ertapenem (10 ug) or meropenem (10 ug) disks on the plates (refer to template for Modified Hodge Test) inoculate the control strain and test isolates in a straight line out from the edge of the disk. The streak should be at least 20 mm in length.
5.4.3 | Please use 0.5 MacFarland Standard Suspension (direct colony suspension) of Escherichia coli ATCC 25922 (indicator organism), control strains (KPN ATCC BAA -1705 and KPN ATCC BAA -1706) and test isolates in 0.85 % NSS. Streak a lawn of the 1:10 dilution of ECO ATCC 25922 onto Mueller Hinton agar plate and allow to dry for 3 – 5 minutes. Place the appropriate number of ertapenem (10 ug) or meropenem (10 ug) disks on the plates (refer to template for Modified Hodge Test) inoculate the control strain and test isolates in a straight line out from the edge of the disk. The streak should be at least 20 mm in length.
5.4.4 | For uniformity of reporting, please use MBL for Non-enterobacteriaceae organisms and Carbapenemase for Enterobacteriaceae.
5.4.5 | For uniformity of reporting, please use MBL for Non-enterobacteriaceae organisms and Carbapenemase for Enterobacteriaceae.
5.4.6 | Proteus spp, Providencia spp and Morganella spp may have elevated MICs to imipenem by mechanisms other than production of carbapenemases therefore it is not necessary to perform modified hodge test on these organisms. (CLSI M-100, S25, p.199)
5.4.7 | As per CLSI recommendation, Modified Hodge Test (MHT) is no longer recommended, instead Modified Carbapenem Inhibition Method (MCIM) and EDTA Carbapenem Inhibition Method (ECIM) testing is advised for Enterobacteriaceae, and MCIM only for Pseudomonas aeruginosa. See attached procedure for MCIM & ECIM.
5.4.8 | Carbapenemase testing such as Modified Hodge Test (MHT), Modified Carbapenemase Inhibition Method (MCIM) and EDTA-Modified Carbapenemase Inhibition Method (ECIM) is not necessary to perform on Acinetobacter baumannii.
5.4.9 | Please perform Modified Carbapenem Inhibition Method (MCIM) and EDTA Carbapenem Inhibition Method (ECIM) for Enterobacteriaceae exhibiting Carbapenem Resistance.
5.5.1 | Please report proper resistant mechanisms exhibited among (Organism) as (Resistance Mechanism) instead of reflecting (referred resistance mechanism)
5.5.2 | Please tick and reflect only in the ARSP data form the resistance mechanism which tested positive in phenotypic/confirmatory AST results.
5.6.1.1 | If ciprofloxacin disk diffusion result falls to susceptible category, but nalidixic acid is Resistant (6mm or no zone ) report the strains as intermediate to Ciprofloxacin. Reference: GC-CDS Method
5.6.1.2 | If ciprofloxacin disk diffusion result falls to intermediate category but nalidixic acid is Resistant (6mm or no zone ) report the strains as resistant to Ciprofloxacin . Reference: GC-CDS Method
5.6.1.3 | If ciprofloxacin disk diffusion result falls to resistant or intermediate category, but nalidixic acid is Resistant 6mm or no zone , report the strain as resistant to ciprofloxacin. Reference: Calibrated Dichotomous Sensitivity Method, 2013
5.6.2.1 | During routine susceptibility testing, please incorporate nalidixic acid 30ug disk in order to screen altered quinolone resistance among Salmonella species. If the isolate is nalidixic acid resistant but intermediate or susceptible to ciprofloxacin, please report ciprofloxacin as tested with caution; may be associated with clinical failure or delayed response in patients with extraintestinal salmonellosis.
5.7.1 | Insert QC reco
5.7.2 | During routine susceptibility testing , please use MH supplemented with 4% NaCl and incorporate oxacillin MIC and cefoxitin disk (30 ug) and incubate fully for 24 hours at 35 –37ºC to enhance detection of Methicillin Resistant mecA (+) isolates. mecA (+) = S. aureus and S. lugdunensis: cefoxitin disk diffusion zone size ≤21mm (Resistant)
5.7.2.1 | When testing oxacillin MIC (E-test), please use MH supplemented with 4% NaCl and incubate fully for 24 hours at 35-37C to enhance detection of Methicillin resistant strains.
5.7.2.2 | When testing cefoxitin (30ug) disk, please use MH supplemented with 4% NaCl and incubate fully for 24 hours at 35-37C to enhance detection of Methicillin resistant strains.
5.7.3 | mecA gene should be reported, once cefoxitin (fox) disk is tested as resistant.
5.7.4 | Isolates of Staphylococcus that is resistant to cefoxitin and oxacillin , carries the mecA gene or produce PBP2a (penicillin-binding protein 2a) should be reported as Methicillin resistant Staphylococcus spp. as per CLSI 2016, M-100 S26, p. 75.
5.7.5 | Your referral is <referred organism with phenotypic results> but FOX result is (zone size) and interpreted as susceptible. Please check and be careful in interpreting AST result to avoid erroneous report.
5.7.6 | 1. Your referral is <referred organism with phenotypic results> but <FOX and OX> was not tested. Please check and be careful in interpreting AST result to avoid erroneous report.2. As per CLSI 2020 recommendation, Cefoxitin should be tested against <Staphylococcus aureus/Coagulase negative Staphylococcus spp.> isolates. <CLSI 2020, M-100 S30, p. 58-66, 142-145>
5.7.7 | For uniformity of reporting, please use Methicillin Resistant instead of Oxacillin Resistant for Staphylococcus spp.
5.7.8 | When the isolate is Methicillin resistant <referred organism>beta-lactam/beta-lactamase inhibitor combinations (i.e <ampicillin/sulbactam>) and cephalosporins (i.e <cefuroxime>) except cephalosporins with anti-MRSA sctivity, and carbapenems should not be reported and considered as resistant since these isolates have responded poorly to these antibiotics (CLSI 2015, Table 2C p.65)
5.8.1 | During routine susceptibility testing, please incorporate and observe proper distance of 1.5 cm or 15 mm from the edge of clindamycin (2ug) disk to the edge of erythromycin (15ug) disk for ICR detection. ICR (+) = Flattening of clindamycin zone adjacent to erythromycin disk
5.8.2 | Please observe proper distance of 1.5 cm or 15 mm from the edge of clindamycin (2ug) disk to the edge of erythromycin (15ug) disk in order to obtain a realiable resultdetection. ICR (+) = Flattening of clindamycin zone adjacent to erythromycin disk
5.8.3 | Please observe proper distance of 1.5 cm or 15 mm from the edge of clindamycin (2ug) disk to the edge of erythromycin (15ug) disk in order to obtain a realiable resultdetection. ICR (+) = Flattening of clindamycin zone adjacent to erythromycin disk
5.8.4 | As per CLSI 2015 recommendation, isolates with Inducible Clindamycin Resistance should be reported as clindamycin resistant. (CLSI 2015, M-100 S25, p. 135-139)
5.9.1 | Your referral is vancomycin resistant (Referred Isolate), a very unusual susceptibility result. Please double check the purity of isolates and validate result by performing other susceptibility test available in the laboratory to ensure reliable result.
5.9.2 | > Your referral is vancomycin resistant (Referred Isolate), a very unusual susceptibility result. Please double check the purity of isolates and validate result by performing other susceptibility test available in the laboratory to ensure reliable result. > When using the Vitek machine, please check Vitek AST card lot number and perform regular quality control using Staphylococcus aureus ATCC 29213 to monitor and evaluate the Vitek card performance and specifically the susceptibility test results of vancomycin.